Company Job Order Form

Requested by: Christina Villa, on behalf of the Engineering department.

Date requested: October 5, 2026.

Description of work: the staff pantry sink on the third floor has a slow drain that backs up during the lunch rush, leaving standing water and a smell. Please clear the trap and drain line, inspect the supply valves for leaks, and replace the damaged strainer. Confirm the drain runs freely with the faucet at full flow.

Priority: Medium

Target Completion: October 9, 2026

Approved By: _______________________________