Company Job Order Form

Requested by: Christina Villa.

Date requested: October 7, 2026.

Description of work: the stairwell lighting between the second and third floors has been flickering intermittently for the past week, and one fixture near the landing has gone completely dark. Please inspect the wiring and ballasts, replace any faulty components, and confirm steady lighting throughout the stairwell.

Estimated Cost: PHP 2,100.00

Approved By: _______________________________